{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["报价单"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"报价单","index":0,"n_rows":12,"n_cols":8,"rows_kept":12,"merged":[[0,0,0,7],[10,2,10,5],[11,0,11,7]],"flags":["formulas_cached_only"]}
["液氧汽化器系统明细表"]
["序号","分项名称","规格型号","单位","数量","单价(元)","合价(元)","厂家品牌"]
[1,"室内医用脱脂不锈钢管","DN25医用脱脂不锈钢管，含管件、变径接头、管道支架、充氮保护焊接等","米",10]
[2,"室内医用脱脂紫铜管","Ф28*1.5医用脱脂紫铜管，含铜管件、变径接头、管道支架、充氮保护焊接等","米",20]
[3,"汽化器安全阀"," 2.14MPaDN10低温铜安全阀，带DN10排气管及配管","套",2]
[4,"汽化器低温截止阀","DN25 低温截止阀，含法兰及不锈钢螺栓","套",6]
[5,"100m3/h汽化器","汽化量100Nm3/h(配2套法兰带垫片螺杆螺母等)","套",2]
[6,"球阀","DN25铜球阀，含活接配管","套",1]
[7,"配件","含接地线、标识等","批",1]
[8,"管道支架",null,"kg",20]
[null,"总价合计",""]
["注：1.以上价格包含运输费、安装费和税费。"]